## Magellan Sheet 3
Well positions | Strip method names | GFP | mScarlet
A6 | AF_fluocurve_f199 | 43563 | 43412
B6 | AF_fluocurve_f199 | 5079.4 | 5184.1
C6 | AF_fluocurve_f199 | 4191.7 | 4369
D6 | AF_fluocurve_f199 | 2716.7 | 2899.8
E6 | AF_fluocurve_f199 | 1457.6 | 1645.2
F6 | AF_fluocurve_f199 | 719.69 | 859.69
G6 | AF_fluocurve_f199 | 504.19 | 662
H6 | AF_fluocurve_f199 | 324.38 | 434.44
A7 | AF_fluocurve_f199 | 192.38 | 278.13
B7 | AF_fluocurve_f199 | 211.31 | 301.25
C7 | AF_fluocurve_f199 | 164.56 | 348
D7 | AF_fluocurve_f199 | 144.5 | 236.25
E7 | AF_fluocurve_f199 | 145.56 | 255.06
Date of measurement: 1981-02-16/Time of measurement: 07:41:01
569nm - 593nm
infinite M1000 PRO
Instrument serial number: 1408007771
Plate
Plate Description: [COS96fb] - Costar 96 Flat Black
Plate with Cover: No
Barcode: No
Part of Plate
Range: A6:E7 F6:H6
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Optimal
Z-Position: Calculated from well
Z-Position well: A6
Number of reads: 50
Label: mScarlet
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 485 nm
Excitation bandwidth: 5 nm
Emission wavelength: 508 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Optimal
Z-Position: Calculated from well
Z-Position well: A6
Number of reads: 50
Label: GFP
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Value of optimal gain: (mScarlet): 171
Value of optimal gain: (GFP): 115
Value of z-position calculated from well A6 (mScarlet): 20986 µm
Value of z-position calculated from well A6 (GFP): 21607 µm
Meas. temperature: mScarlet: 23.2 °C
Meas. temperature: GFP: 23.3 °C
Date: 1981-02-16, Time: 07:41:01