## Magellan Sheet 3
Well positions | Strip method names | GFP | mScarlet
C5 | AF_srb15Checkf199_20231013 | 40 | 29.188
D5 | AF_srb15Checkf199_20231013 | 48.063 | 28.688
E5 | AF_srb15Checkf199_20231013 | 52.125 | 30.813
F5 | AF_srb15Checkf199_20231013 | 52 | 32.125
G5 | AF_srb15Checkf199_20231013 | 7769.3 | 48365
H5 | AF_srb15Checkf199_20231013 | 44427 | 15324
Date of measurement: 1981-02-11/Time of measurement: 03:25:24
569nm - 593nm
infinite M1000 PRO
Instrument serial number: 1408007771
Plate
Plate Description: [COS96fb] - Costar 96 Flat Black
Plate with Cover: No
Barcode: No
Part of Plate
Range: C5:H5
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Optimal
Z-Position: Calculated from well
Z-Position well: C5
Number of reads: 50
Label: mScarlet
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 485 nm
Excitation bandwidth: 5 nm
Emission wavelength: 508 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Optimal
Z-Position: Calculated from well
Z-Position well: C5
Number of reads: 50
Label: GFP
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Value of optimal gain: (mScarlet): 129
Value of optimal gain: (GFP): 96
Value of z-position calculated from well C5 (mScarlet): 23158 µm
Value of z-position calculated from well C5 (GFP): 22537 µm
Meas. temperature: mScarlet: 23.8 °C
Meas. temperature: GFP: 23.8 °C
Date: 1981-02-11, Time: 03:25:24