## Magellan Sheet 3
Well positions | mScarlet | mVenus
C5 | 14.313 | 482.94
D5 | 16.438 | 598.5
E5 | 20.188 | 527.88
F5 | 19.938 | 549.44
G5 | 46378 | 16405
H5 | 11008 | 46089
Date of measurement: 1981-02-11/Time of measurement: 03:05:31
569nm - 593nm
infinite M1000 PRO
Instrument serial number: 1408007771
Plate
Plate Description: [COS96fb] - Costar 96 Flat Black
Plate with Cover: No
Barcode: No
Part of Plate
Range: C5:H5
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Optimal
Z-Position: Calculated from well
Z-Position well: C5
Number of reads: 50
Label: mScarlet
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 511 nm
Excitation bandwidth: 5 nm
Emission wavelength: 529 nm
Emission bandwidth: 5 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Optimal
Z-Position: Calculated from well
Z-Position well: C5
Number of reads: 50
Label: mVenus
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Value of optimal gain: (mScarlet): 124
Value of optimal gain: (mVenus): 162
Value of z-position calculated from well C5 (mScarlet): 20055 µm
Value of z-position calculated from well C5 (mVenus): 22848 µm
Meas. temperature: mScarlet: 22.9 °C
Meas. temperature: mVenus: 22.8 °C
Date: 1981-02-11, Time: 03:05:31