## Magellan Sheet 3
Well positions | Strip method names | OD600 | GFP | mVenus | mScarlet_g7 | mScarlet_f199
A1 | AF_ExperimentA | 0.34189 |  | 483.94 | 6.375
B1 | AF_ExperimentA | 0.34428 |  | 491.75 | 6.875
C1 | AF_ExperimentA | 0.3657 |  | 491.56 | 7.25
D1 | AF_ExperimentA | 0.36635 | 468.38 |  |  | 8.5625
E1 | AF_ExperimentA | 0.33322 | 459.5 |  |  | 8.75
F1 | AF_ExperimentA | 0.34328 | 462.31 |  |  | 8.9375
G1 | AF_ExperimentA | 0.37916 | 989.06 | 1003.1 | 500.25 | 627.81
H1 | AF_ExperimentA | 0.33612 | 832.81 | 856.44 | 343.5 | 389.06
A2 | AF_ExperimentA | 0.39007 |  | 927.94 | 382.5
B2 | AF_ExperimentA | 0.38543 | 587.13 |  |  | 20.375
C2 | AF_ExperimentA | 0.40836 | 602.13 |  |  | 21.688
D2 | AF_ExperimentA | 0.36188 | 646.94 |  |  | 25.75
E2 | AF_ExperimentA | 0.35005 | 477 | 491.81 | 6.75 | 9.25
F2 | AF_ExperimentA | 0.38489 | 465.31 | 483.06 | 6.5625 | 8.8125
G2 | AF_ExperimentA | 0.41367 | 460.06 | 473.88 | 7.0625 | 9.0625
H2 | AF_ExperimentA | 0.401 | 437.5 | 456.5 | 7.625 | 8.6875
A3 | AF_ExperimentA | 0.37838 |  | 490.06 | 6.375
B3 | AF_ExperimentA | 0.32994 |  | 503.75 | 6.625
C3 | AF_ExperimentA | 0.37278 |  | 505 | 6.6875
D3 | AF_ExperimentA | 0.34043 | 487.5 |  |  | 9.125
E3 | AF_ExperimentA | 0.34708 | 485.94 |  |  | 9.3125
F3 | AF_ExperimentA | 0.37435 | 480 |  |  | 9.1875
G3 | AF_ExperimentA | 0.40653 | 877.5 | 881.63 | 337.31 | 458.06
H3 | AF_ExperimentA | 0.39566 | 841.25 | 844.88 | 319.69 | 377
A4 | AF_ExperimentA | 0.40706 |  | 903.56 | 352.88
B4 | AF_ExperimentA | 0.35458 | 588.31 |  |  | 20.313
C4 | AF_ExperimentA | 0.39669 | 619.44 |  |  | 22.563
D4 | AF_ExperimentA | 0.33874 | 654.69 |  |  | 25.813
E4 | AF_ExperimentA | 0.34524 | 475.56 | 486.75 | 6.9375 | 9.375
F4 | AF_ExperimentA | 0.36516 | 461.88 | 473.44 | 6.625 | 8.75
G4 | AF_ExperimentA | 0.4254 | 448.81 | 460.13 | 7.3125 | 8.8125
H4 | AF_ExperimentA | 0.41268 | 430.31 | 449.88 | 7.625 | 8.3125
A5 | AF_ExperimentA | 0.81241 |  | 3151.6 | 3057.1
B5 | AF_ExperimentA | 0.59363 |  | 2849 | 2542.4
C5 | AF_ExperimentA | 0.68117 |  | 2275.1 | 1636.8
D5 | AF_ExperimentA | 0.59869 | 1262.6 |  |  | 163.81
E5 | AF_ExperimentA | 0.61456 | 1577.7 |  |  | 208.44
F5 | AF_ExperimentA | 0.53709 | 1822.4 |  |  | 269.81
G5 | AF_ExperimentA | 0.4215 | 458.31 | 713.5 | 6.75 | 9.9375
H5 | AF_ExperimentA | 0.72 | 528.94 | 843.13 | 8.0625 | 10.25
A6 | AF_ExperimentA | 0.8555 |  | 3006.9 | 2794.2
B6 | AF_ExperimentA | 0.91552 |  | 2487.2 | 2248.3
C6 | AF_ExperimentA | 0.69932 |  | 2816.9 | 2269.8
D6 | AF_ExperimentA | 0.58732 | 1252.9 |  |  | 157.75
E6 | AF_ExperimentA | 0.70263 | 1248.5 |  |  | 158.44
F6 | AF_ExperimentA | 0.7332 | 1432.4 |  |  | 200.56
G6 | AF_ExperimentA | 0.68774 | 434.94 | 709.31 | 6.3125 | 8.1875
H6 | AF_ExperimentA | 0.78526 | 516.06 | 869.94 | 7.5625 | 9.3125
A7 | AF_ExperimentA | 0.45031 |  | 2413.8 | 1678.5
B7 | AF_ExperimentA | 0.42468 |  | 2329 | 1567.3
C7 | AF_ExperimentA | 0.3745 |  | 2103.3 | 1319.1
D7 | AF_ExperimentA | 0.32095 | 857.31 |  |  | 74.25
E7 | AF_ExperimentA | 0.26221 | 955.63 |  |  | 81.688
F7 | AF_ExperimentA | 0.34168 | 1028.9 |  |  | 105
G7 | AF_ExperimentA | 0.33934 | 517 | 575 | 7.3125 | 10.188
H7 | AF_ExperimentA | 0.38441 | 501.69 | 578.75 | 8.5 | 9.9375
A8 | AF_ExperimentA | 0.45127 |  | 2362.4 | 1577
B8 | AF_ExperimentA | 0.42858 |  | 2230.1 | 1444.6
C8 | AF_ExperimentA | 0.38982 |  | 2259.1 | 1471.6
D8 | AF_ExperimentA | 0.33889 | 907.25 |  |  | 80.563
E8 | AF_ExperimentA | 0.35919 | 877.38 |  |  | 72.313
F8 | AF_ExperimentA | 0.36488 | 1020.8 |  |  | 104.31
G8 | AF_ExperimentA | 0.4003 | 500.25 | 554.81 | 7.5 | 9.75
H8 | AF_ExperimentA | 0.40575 | 460.31 | 542.63 | 8.8125 | 9.0625
A9 | AF_ExperimentA | 1.0014 |  | 48516 | 44372
B9 | AF_ExperimentA | 1.18 | 58473~ |  |  | 8269.1
C9 | AF_ExperimentA | 0.37978 | 465.13 | 471.56 | 6.5 | 9.3125
D9 | AF_ExperimentA | 0.3849 | 454.63 | 463.25 | 6.8125 | 8.4375
E9 | AF_ExperimentA | 0.39202 | 463.38 | 485.19 | 6.5625 | 8.75
F9 | AF_ExperimentA | 0.39258 | 448.13 | 475.06 | 7 | 8.875
Date of measurement: 1981-09-06/Time of measurement: 08:32:00
569nm - 593nm
infinite M1000 PRO
Instrument serial number: 1408007771
Plate
Plate Description: [COR96fb clear bottom] - Corning 96 Flat black, clear bottom
Plate with Cover: No
Barcode: No
Part of Plate
Range: A1:A9 B5:C8 B1:C1 B3:C3 E2:F2 E4:F4 C9:F9 G1:H8
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 91
Z-Position: Calculated from well
Z-Position well: A1
Number of reads: 50
Label: mScarlet_g7
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 500 nm
Excitation bandwidth: 20 nm
Emission wavelength: 545 nm
Emission bandwidth: 20 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 73
Z-Position: Calculated from well
Z-Position well: A1
Number of reads: 50
Label: mVenus
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Part of Plate
Range: D1:F9 B2:C2 B4:C4 B9:C9 G1:H8
Fluorescence Intensity
Excitation wavelength: 475 nm
Excitation bandwidth: 20 nm
Emission wavelength: 515 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 73
Z-Position: Calculated from well
Z-Position well: B2
Number of reads: 50
Label: GFP
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 91
Z-Position: Manual
Z-Position height: 20000 μm
Number of reads: 50
Label: mScarlet_f199
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Part of Plate
Range: A1:F9 G1:H8
Absorbance
Measurement wavelength: 600 nm
Number of reads: 25
Settle time: 100 ms
Label: OD600
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 500 μm
Value of z-position calculated from well A1 (mScarlet_g7): 18193 µm
Value of z-position calculated from well A1 (mVenus): 19744 µm
Value of z-position calculated from well B2 (GFP): 19744 µm
Meas. temperature: mScarlet_g7: 25.7 °C
Meas. temperature: mVenus: 25.8 °C
Meas. temperature: GFP: 25.8 °C
Meas. temperature: mScarlet_f199: 25.8 °C
Meas. temperature: OD600: 26.0 °C
Date: 1981-09-06, Time: 08:32:00