## Magellan Sheet 3
Well positions | Strip method names | OD600 | GFP | mVenus | mScarlet_g7 | mScarlet_f199
A1 | AF_ExperimentA_super | 0.33583 |  | 2206.8 | 2266.8
B1 | AF_ExperimentA_super | 0.34208 |  | 1815.3 | 2003.7
C1 | AF_ExperimentA_super | 0.31531 |  | 1462.3 | 1223.8
D1 | AF_ExperimentA_super | 0.3129 | 686.06 |  |  | 232.81
E1 | AF_ExperimentA_super | 0.37856 | 724.25 |  |  | 186.88
F1 | AF_ExperimentA_super | 0.35364 | 638.19 |  |  | 85.813
G1 | AF_ExperimentA_super | 0.34726 |  | 3294.4 | 3401.3
H1 | AF_ExperimentA_super | 0.36145 |  | 4981 | 5920.3
A2 | AF_ExperimentA_super | 0.40122 |  | 4734.9 | 5606.4
B2 | AF_ExperimentA_super | 0.41837 | 1239.2 |  |  | 733
C2 | AF_ExperimentA_super | 0.3509 | 1391.1 |  |  | 753.44
D2 | AF_ExperimentA_super | 0.35094 | 1331.8 |  |  | 463.06
E2 | AF_ExperimentA_super | 0.2711 | 494.63 | 426.88 | 9.75 | 10.813
F2 | AF_ExperimentA_super | 0.33104 | 486.94 | 416.5 | 9.9375 | 11
G2 | AF_ExperimentA_super | 0.27749 | 481.88 | 404.38 | 9.625 | 10.75
H2 | AF_ExperimentA_super | 0.32136 | 474.5 | 393.69 | 9.375 | 10.563
A3 | AF_ExperimentA_super | 0.34928 |  | 2229.5 | 2327.3
B3 | AF_ExperimentA_super | 0.36815 |  | 1905.3 | 2004.4
C3 | AF_ExperimentA_super | 0.38497 |  | 2619.2 | 2093.8
D3 | AF_ExperimentA_super | 0.3408 | 699.25 |  |  | 235.63
E3 | AF_ExperimentA_super | 0.37034 | 732.06 |  |  | 189.63
F3 | AF_ExperimentA_super | 0.42481 | 655.5 |  |  | 87.063
G3 | AF_ExperimentA_super | 0.35818 |  | 3138.4 | 3497.9
H3 | AF_ExperimentA_super | 0.4032 |  | 5183.6 | 6031.4
A4 | AF_ExperimentA_super | 0.42458 |  | 4924.1 | 5858.7
B4 | AF_ExperimentA_super | 0.4421 | 1222.8 |  |  | 721.5
C4 | AF_ExperimentA_super | 0.36657 | 1285.2 |  |  | 673.25
D4 | AF_ExperimentA_super | 0.40596 | 1514.1 |  |  | 528
E4 | AF_ExperimentA_super | 0.3327 | 491.94 | 426.75 | 9.5 | 11
F4 | AF_ExperimentA_super | 0.35279 | 491.06 | 423.31 | 9.6875 | 10.813
G4 | AF_ExperimentA_super | 0.35316 | 484.88 | 410.63 | 9.625 | 10.688
H4 | AF_ExperimentA_super | 0.33663 | 477.81 | 399.31 | 10 | 10.688
A5 | AF_ExperimentA_super | 0.50781 |  | 6200.2 | 4935
B5 | AF_ExperimentA_super | 0.53897 |  | 6643.7 | 5471.1
C5 | AF_ExperimentA_super | 0.56959 |  | 5222.6 | 4202.8
D5 | AF_ExperimentA_super | 0.49156 | 746.19 |  |  | 261.25
E5 | AF_ExperimentA_super | 0.49688 | 839.13 |  |  | 247.5
F5 | AF_ExperimentA_super | 0.54042 | 756.63 |  |  | 118.13
G5 | AF_ExperimentA_super | 0.48165 |  | 9139.3 | 9109.3
H5 | AF_ExperimentA_super | 0.45324 |  | 8439.6 | 9284.9
A6 | AF_ExperimentA_super | 0.48828 |  | 7698.6 | 9254.1
B6 | AF_ExperimentA_super | 0.45716 | 1414.6 |  |  | 947.56
C6 | AF_ExperimentA_super | 0.473 | 1490.1 |  |  | 842.69
D6 | AF_ExperimentA_super | 0.44629 | 1728.4 |  |  | 608.06
E6 | AF_ExperimentA_super | 0.39363 | 471.44 | 415.06 | 8.4375 | 9.625
F6 | AF_ExperimentA_super | 0.35902 | 475.06 | 407.75 | 9.3125 | 10.375
G6 | AF_ExperimentA_super | 0.33814 | 477.13 | 406.06 | 9.5625 | 10.688
H6 | AF_ExperimentA_super | 0.32539 | 472.25 | 400.06 | 9.625 | 10.688
A7 | AF_ExperimentA_super | 0.5283 |  | 7464.9 | 5737
B7 | AF_ExperimentA_super | 0.52697 |  | 6473.8 | 5319.4
C7 | AF_ExperimentA_super | 0.49619 |  | 4905 | 3991.1
D7 | AF_ExperimentA_super | 0.49301 | 731.88 |  |  | 253.31
E7 | AF_ExperimentA_super | 0.48126 | 811.81 |  |  | 237.13
F7 | AF_ExperimentA_super | 0.50808 | 760.88 |  |  | 118.25
G7 | AF_ExperimentA_super | 0.46294 |  | 9034.8 | 8989.6
H7 | AF_ExperimentA_super | 0.45959 |  | 8613.3 | 9449.9
A8 | AF_ExperimentA_super | 0.54637 |  | 7853.6 | 9420.2
B8 | AF_ExperimentA_super | 0.47749 | 1388.5 |  |  | 928.13
C8 | AF_ExperimentA_super | 0.42632 | 1526.9 |  |  | 864.63
D8 | AF_ExperimentA_super | 0.46959 | 1745.2 |  |  | 608.81
E8 | AF_ExperimentA_super | 0.35912 | 493.13 | 434.19 | 9.125 | 10.375
F8 | AF_ExperimentA_super | 0.3299 | 496.69 | 428.13 | 9.6875 | 10.813
G8 | AF_ExperimentA_super | 0.26031 | 491.5 | 414.06 | 10.125 | 11.063
H8 | AF_ExperimentA_super | 0.34511 | 475 | 404.44 | 9.375 | 10.688
A9 | AF_ExperimentA_super | 0.42683 | 456 | 382.88 | 8.3125 | 10.375
B9 | AF_ExperimentA_super | 0.39343 | 459.38 | 394.31 | 8.375 | 9.6875
C9 | AF_ExperimentA_super | 1.0566 |  | 18138 | 11331
Date of measurement: 1980-01-17/Time of measurement: 16:27:22
569nm - 593nm
infinite M1000 PRO
Instrument serial number: 1408007771
Plate
Plate Description: [COR96fb clear bottom] - Corning 96 Flat black, clear bottom
Plate with Cover: No
Barcode: No
Part of Plate
Range: A1:A9 B1:C1 B3:C3 B5:C5 B7:C7 B9:C9 E2:F2 E4:F4 E6:F6 E8:F8 G1:H8
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 91
Z-Position: Calculated from well
Z-Position well: A6
Number of reads: 50
Label: mScarlet_g7
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 500 nm
Excitation bandwidth: 20 nm
Emission wavelength: 545 nm
Emission bandwidth: 20 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 73
Z-Position: Calculated from well
Z-Position well: A6
Number of reads: 50
Label: mVenus
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Part of Plate
Range: B8:B9 D1:F8 A9:A9 B2:C2 B4:C4 B6:C6 C8:C8 G2:H2 G4:H4 G6:H6 G8:H8
Fluorescence Intensity
Excitation wavelength: 475 nm
Excitation bandwidth: 20 nm
Emission wavelength: 515 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 73
Z-Position: Calculated from well
Z-Position well: A9
Number of reads: 50
Label: GFP
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 91
Z-Position: Manual
Z-Position height: 20000 μm
Number of reads: 50
Label: mScarlet_f199
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Part of Plate
Range: A1:C9 D1:H8
Absorbance
Measurement wavelength: 600 nm
Number of reads: 25
Settle time: 100 ms
Label: OD600
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 500 μm
Value of z-position calculated from well A6 (mScarlet_g7): 20986 µm
Value of z-position calculated from well A6 (mVenus): 20986 µm
Value of z-position calculated from well A9 (GFP): 19744 µm
Meas. temperature: mScarlet_g7: 25.1 °C
Meas. temperature: mVenus: 25.2 °C
Meas. temperature: GFP: 25.4 °C
Meas. temperature: mScarlet_f199: 25.5 °C
Meas. temperature: OD600: 25.7 °C
Date: 1980-01-17, Time: 16:27:22