## Magellan Sheet 3
Well positions | Strip method names | OD600 | GFP | mVenus | mScarlet_g7 | mScarlet_f199
A1 | AF_ExperimentA | 0.41236 |  | 8710.9 | 7425.3
B1 | AF_ExperimentA | 0.44335 |  | 7057.9 | 6608
C1 | AF_ExperimentA | 0.44501 |  | 6526.6 | 6220.9
D1 | AF_ExperimentA | 0.43148 | 835.31 |  |  | 254.63
E1 | AF_ExperimentA | 0.41384 | 976.81 |  |  | 246.38
F1 | AF_ExperimentA | 0.46101 | 867.06 |  |  | 137.88
G1 | AF_ExperimentA | 0.37355 | 9626.6 | 10532 | 10052 | 8262.3
H1 | AF_ExperimentA | 0.37545 | 9323.2 | 10089 | 10618 | 8740.4
A2 | AF_ExperimentA | 0.41521 |  | 10292 | 11594
B2 | AF_ExperimentA | 0.44651 | 1706.7 |  |  | 1035.3
C2 | AF_ExperimentA | 0.35405 | 1819.2 |  |  | 895.56
D2 | AF_ExperimentA | 0.39236 | 2094.3 |  |  | 579
E2 | AF_ExperimentA | 0.31233 | 404.56 | 438.44 | 12.25 | 9.4375
F2 | AF_ExperimentA | 0.28386 | 391.13 | 422.69 | 13 | 10.063
G2 | AF_ExperimentA | 0.26292 | 378.56 | 403.31 | 13.688 | 10.5
H2 | AF_ExperimentA | 0.28053 | 377.44 | 399.06 | 14.875 | 10.563
A3 | AF_ExperimentA | 0.46629 |  | 8793.1 | 7241.3
B3 | AF_ExperimentA | 0.43814 |  | 7178.8 | 6752.4
C3 | AF_ExperimentA | 0.46604 |  | 6505.6 | 6224.9
D3 | AF_ExperimentA | 0.44607 | 844.94 |  |  | 257.81
E3 | AF_ExperimentA | 0.4261 | 996.5 |  |  | 247.63
F3 | AF_ExperimentA | 0.48327 | 874.31 |  |  | 136.38
G3 | AF_ExperimentA | 0.39785 | 9753.6 | 10634 | 10219 | 8346.2
H3 | AF_ExperimentA | 0.41492 | 9313.3 | 10066 | 10577 | 8671.9
A4 | AF_ExperimentA | 0.40754 |  | 10323 | 11822
B4 | AF_ExperimentA | 0.40486 | 1747.8 |  |  | 1040.3
C4 | AF_ExperimentA | 0.38047 | 1811.8 |  |  | 885.38
D4 | AF_ExperimentA | 0.41003 | 2111.8 |  |  | 577.38
E4 | AF_ExperimentA | 0.34552 | 393.81 | 429.06 | 12 | 9.3125
F4 | AF_ExperimentA | 0.30417 | 381.56 | 407.5 | 12.688 | 10.188
G4 | AF_ExperimentA | 0.31922 | 371.06 | 394.56 | 13.625 | 10.188
H4 | AF_ExperimentA | 0.35963 | 368.19 | 391.44 | 14 | 9.9375
A5 | AF_ExperimentA | 0.92381 |  | 12540 | 13318
B5 | AF_ExperimentA | 0.98719 |  | 8644.9 | 9809.6
C5 | AF_ExperimentA | 0.7433 |  | 5348.2 | 4070
D5 | AF_ExperimentA | 0.99549 | 5489.8 |  |  | 2204.3
E5 | AF_ExperimentA | 0.90696 | 9829.9 |  |  | 2058.3
F5 | AF_ExperimentA | 0.83409 | 5088.9 |  |  | 695.75
G5 | AF_ExperimentA | 0.49418 | 542.5 | 858.56 | 16.125 | 10.25
H5 | AF_ExperimentA | 0.40292 | 535.88 | 810.19 | 15.375 | 9.4375
A6 | AF_ExperimentA | 0.98918 |  | 7193.9 | 5022.2
B6 | AF_ExperimentA | 1.067 |  | 5390.4 | 5126.8
C6 | AF_ExperimentA | 0.96054 |  | 4810.1 | 4543
D6 | AF_ExperimentA | 0.96713 | 5011.6 |  |  | 1734.7
E6 | AF_ExperimentA | 1.0057 | 7988.5 |  |  | 2114.2
F6 | AF_ExperimentA | 0.93254 | 5615.1 |  |  | 883.81
G6 | AF_ExperimentA | 0.86134 | 497.69 | 802.5 | 14.813 | 8.1875
H6 | AF_ExperimentA | 0.22373 | 789.38 | 1220.4 | 22.313 | 15.688
A7 | AF_ExperimentA | 0.41902 |  | 6227.8 | 5112.8
B7 | AF_ExperimentA | 0.40498 |  | 4288.1 | 4240.6
C7 | AF_ExperimentA | 0.31976 |  | 4343.3 | 4334.1
D7 | AF_ExperimentA | 0.66529 | 4639.6 |  |  | 1525.4
E7 | AF_ExperimentA | 0.69423 | 5325.7 |  |  | 1365.4
F7 | AF_ExperimentA | 0.45099 | 3189.1 |  |  | 543.81
G7 | AF_ExperimentA | 0.2884 | 416.88 | 479.25 | 24 | 18.938
H7 | AF_ExperimentA | 0.27666 | 434.94 | 505.25 | 21.813 | 16.625
A8 | AF_ExperimentA | 0.35179 |  | 4853.2 | 3517.6
B8 | AF_ExperimentA | 0.38141 |  | 4128.3 | 3713.3
C8 | AF_ExperimentA | 0.39345 |  | 5053.8 | 6190.2
D8 | AF_ExperimentA | 0.65562 | 3875.6 |  |  | 1479.3
E8 | AF_ExperimentA | 0.42806 | 3069.7 |  |  | 689.81
F8 | AF_ExperimentA | 0.6949 | 4100.6 |  |  | 658.38
G8 | AF_ExperimentA | 0.31605 | 427.31 | 492.94 | 24.563 | 19
H8 | AF_ExperimentA | 0.25934 | 441.44 | 522.06 | 22.625 | 18.125
A9 | AF_ExperimentA | 1.174 |  | 28916 | 14927
B9 | AF_ExperimentA | 1.2299 | 32682 |  |  | 1435.6
C9 | AF_ExperimentA | 0.23341 | 406.5 | 426.19 | 12.688 | 10.438
D9 | AF_ExperimentA | 0.27001 | 390.69 | 413.31 | 13.438 | 10.063
E9 | AF_ExperimentA | 0.25927 | 384.56 | 408.44 | 12.875 | 9.75
F9 | AF_ExperimentA | 0.33158 | 367.19 | 393.44 | 13 | 9.8125
A10 | AF_ExperimentA | 0.31286 |  | 4344.8 | 3726.8
B10 | AF_ExperimentA | 0.35564 |  | 4172.7 | 3959.6
C10 | AF_ExperimentA | 0.31618 |  | 3766.2 | 3669.9
D10 | AF_ExperimentA | 0.27086 | 767.63 |  |  | 214.19
E10 | AF_ExperimentA | 0.31413 | 811.38 |  |  | 177.63
F10 | AF_ExperimentA | 0.40889 | 772.19 |  |  | 106.75
G10 | AF_ExperimentA | 0.32776 | 6890.3 | 7454.2 | 7176.9 | 5838.3
H10 | AF_ExperimentA | 0.37189 | 7399.4 | 7956.2 | 8289 | 6726.6
A11 | AF_ExperimentA | 0.35579 |  | 8050.9 | 9108.8
B11 | AF_ExperimentA | 0.38962 | 1674.5 |  |  | 916.56
C11 | AF_ExperimentA | 0.36739 | 1735.2 |  |  | 801.69
D11 | AF_ExperimentA | 0.36584 | 2100.3 |  |  | 550.5
E11 | AF_ExperimentA | 0.2814 | 402.25 | 434.69 | 14.25 | 10.625
F11 | AF_ExperimentA | 0.31093 | 387.31 | 419 | 13.875 | 10.375
G11 | AF_ExperimentA | 0.32449 | 374.81 | 399.56 | 14.5 | 10.438
H11 | AF_ExperimentA | 0.31179 | 370.69 | 394.69 | 14.313 | 10.375
Date of measurement: 1980-01-25/Time of measurement: 12:58:03
569nm - 593nm
infinite M1000 PRO
Instrument serial number: 1408007771
Plate
Plate Description: [COR96fb clear bottom] - Corning 96 Flat black, clear bottom
Plate with Cover: No
Barcode: No
Part of Plate
Range: A1:A11 B5:C8 C9:C10 B10:B10 B1:C1 B3:C3 E2:F2 E4:F4 D9:F9 E11:F11 G1:H8 G10:H11
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 91
Z-Position: Calculated from well
Z-Position well: A1
Number of reads: 50
Label: mScarlet_g7
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 500 nm
Excitation bandwidth: 20 nm
Emission wavelength: 545 nm
Emission bandwidth: 20 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 73
Z-Position: Calculated from well
Z-Position well: A1
Number of reads: 50
Label: mVenus
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Part of Plate
Range: D1:F11 B2:C2 B4:C4 B9:C9 B11:C11 G1:H8 G10:H11
Fluorescence Intensity
Excitation wavelength: 475 nm
Excitation bandwidth: 20 nm
Emission wavelength: 515 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 73
Z-Position: Calculated from well
Z-Position well: B2
Number of reads: 50
Label: GFP
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 91
Z-Position: Manual
Z-Position height: 20000 μm
Number of reads: 50
Label: mScarlet_f199
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Part of Plate
Range: A1:F11 G1:H8 G10:H11
Absorbance
Measurement wavelength: 600 nm
Number of reads: 25
Settle time: 100 ms
Label: OD600
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 500 μm
Value of z-position calculated from well A1 (mScarlet_g7): 21296 µm
Value of z-position calculated from well A1 (mVenus): 20986 µm
Value of z-position calculated from well B2 (GFP): 20986 µm
Meas. temperature: mScarlet_g7: 22.8 °C
Meas. temperature: mVenus: 22.9 °C
Meas. temperature: GFP: 23.0 °C
Meas. temperature: mScarlet_f199: 23.6 °C
Meas. temperature: OD600: 24.1 °C
Date: 1980-01-25, Time: 12:58:03