## Magellan Sheet 3
Well positions | Strip method names | OD600 | GFP | mVenus | mScarlet_g7 | mScarlet_f199
A1 | AF_ExperimentA_super | 0.59558 |  | 1690.7 | 1446.9
B1 | AF_ExperimentA_super | 0.50364 |  | 1634.3 | 1658
C1 | AF_ExperimentA_super | 0.52871 |  | 1633.7 | 1441.5
D1 | AF_ExperimentA_super | 0.58451 | 638 |  |  | 140.44
E1 | AF_ExperimentA_super | 0.5453 | 633.81 |  |  | 96.75
F1 | AF_ExperimentA_super | 0.50303 | 638 |  |  | 63.75
G1 | AF_ExperimentA_super | 0.50076 |  | 3015.4 | 2913.9
H1 | AF_ExperimentA_super | 0.53738 |  | 2850.1 | 2865.7
A2 | AF_ExperimentA_super | 0.47147 |  | 5735.1 | 5837.1
B2 | AF_ExperimentA_super | 0.53343 | 1147 |  |  | 632.69
C2 | AF_ExperimentA_super | 0.52283 | 1351.1 |  |  | 546.63
D2 | AF_ExperimentA_super | 0.5746 | 1331.4 |  |  | 348.56
E2 | AF_ExperimentA_super | 0.47107 | 436.19 | 364.13 | 7.5 | 8
F2 | AF_ExperimentA_super | 0.36689 | 455.63 | 374.81 | 7.9375 | 8.6875
G2 | AF_ExperimentA_super | 0.50967 | 414.69 | 338.69 | 7.3125 | 7.5625
H2 | AF_ExperimentA_super | 0.48942 | 425.69 | 345.13 | 7.5625 | 8.25
A3 | AF_ExperimentA_super | 0.47106 |  | 1797.8 | 1505.1
B3 | AF_ExperimentA_super | 0.36245 |  | 1750.6 | 1744.4
C3 | AF_ExperimentA_super | 0.41601 |  | 1794.8 | 1571.4
D3 | AF_ExperimentA_super | 0.51774 | 671.13 |  |  | 145.38
E3 | AF_ExperimentA_super | 0.44296 | 689.69 |  |  | 105.69
F3 | AF_ExperimentA_super | 0.42898 | 679.63 |  |  | 67.188
G3 | AF_ExperimentA_super | 0.44163 |  | 4929.2 | 4283.5
H3 | AF_ExperimentA_super | 0.38756 |  | 3145.7 | 3179.3
A4 | AF_ExperimentA_super | 0.48348 |  | 6180.4 | 6363.5
B4 | AF_ExperimentA_super | 0.43246 | 1210.3 |  |  | 667.69
C4 | AF_ExperimentA_super | 0.41668 | 1335.3 |  |  | 531.69
D4 | AF_ExperimentA_super | 0.48024 | 1385.9 |  |  | 362.69
E4 | AF_ExperimentA_super | 0.34566 | 467.13 | 386.06 | 8.125 | 8.8125
F4 | AF_ExperimentA_super | 0.32436 | 463.69 | 386.13 | 8.4375 | 9.125
G4 | AF_ExperimentA_super | 0.42835 | 436.63 | 359.69 | 7.875 | 8.625
H4 | AF_ExperimentA_super | 0.44822 | 442.25 | 358.06 | 8.25 | 8.5625
A5 | AF_ExperimentA_super | 0.52207 |  | 9570.6 | 6218.3
B5 | AF_ExperimentA_super | 0.50229 |  | 8154.7 | 6686.3
C5 | AF_ExperimentA_super | 0.57158 |  | 7491.6 | 5667.8
D5 | AF_ExperimentA_super | 0.51464 | 749.75 |  |  | 181.19
E5 | AF_ExperimentA_super | 0.4853 | 891.25 |  |  | 199.06
F5 | AF_ExperimentA_super | 0.49649 | 798.38 |  |  | 105.88
G5 | AF_ExperimentA_super | 0.53175 |  | 11422 | 8705.6
H5 | AF_ExperimentA_super | 0.53521 |  | 11841 | 10305
A6 | AF_ExperimentA_super | 0.45341 |  | 10574 | 10357
B6 | AF_ExperimentA_super | 0.41151 | 1363.3 |  |  | 881.38
C6 | AF_ExperimentA_super | 0.36241 | 1652.3 |  |  | 725.25
D6 | AF_ExperimentA_super | 0.44784 | 1685.9 |  |  | 476.19
E6 | AF_ExperimentA_super | 0.27206 | 461.44 | 384.13 | 8.5625 | 9
F6 | AF_ExperimentA_super | 0.26131 | 463 | 384.44 | 8.5625 | 9.1875
G6 | AF_ExperimentA_super | 0.37781 | 438.69 | 359.94 | 8.125 | 8.5625
H6 | AF_ExperimentA_super | 0.39833 | 449.69 | 369.63 | 8.375 | 8.8125
A7 | AF_ExperimentA_super | 0.4501 |  | 7432.3 | 4876.1
B7 | AF_ExperimentA_super | 0.44045 |  | 6581.8 | 5496.8
C7 | AF_ExperimentA_super | 0.49838 |  | 6468.8 | 4980.9
D7 | AF_ExperimentA_super | 0.45814 | 833.81 |  |  | 233
E7 | AF_ExperimentA_super | 0.4434 | 904.13 |  |  | 199.56
F7 | AF_ExperimentA_super | 0.44334 | 788.31 |  |  | 101.63
G7 | AF_ExperimentA_super | 0.44782 |  | 11963 | 9080.7
H7 | AF_ExperimentA_super | 0.46694 |  | 11907 | 10364
A8 | AF_ExperimentA_super | 0.51064 |  | 9700.2 | 9505.3
B8 | AF_ExperimentA_super | 0.41945 | 1327.2 |  |  | 845.63
C8 | AF_ExperimentA_super | 0.34824 | 1704.9 |  |  | 753.13
D8 | AF_ExperimentA_super | 0.38102 | 1718.4 |  |  | 479.06
E8 | AF_ExperimentA_super | 0.21638 | 487.25 | 412.94 | 9.4375 | 9.75
F8 | AF_ExperimentA_super | 0.27026 | 474.63 | 397.75 | 8.8125 | 9.5625
G8 | AF_ExperimentA_super | 0.31556 | 455.31 | 382.94 | 8.625 | 9.0625
H8 | AF_ExperimentA_super | 0.35046 | 458.31 | 382.81 | 8.75 | 9.1875
A9 | AF_ExperimentA_super | 0.36397 | 459.88 | 378.81 | 8.625 | 9.25
B9 | AF_ExperimentA_super | 0.29215 | 468.38 | 404.06 | 9.125 | 9.625
C9 | AF_ExperimentA_super | 0.82877 |  | 27756 | 10122
Date of measurement: 1980-01-31/Time of measurement: 12:55:37
569nm - 593nm
infinite M1000 PRO
Instrument serial number: 1408007771
Plate
Plate Description: [COR96fb clear bottom] - Corning 96 Flat black, clear bottom
Plate with Cover: No
Barcode: No
Part of Plate
Range: A1:A9 B1:C1 B3:C3 B5:C5 B7:C7 B9:C9 E2:F2 E4:F4 E6:F6 E8:F8 G1:H8
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 91
Z-Position: Calculated from well
Z-Position well: A6
Number of reads: 50
Label: mScarlet_g7
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 500 nm
Excitation bandwidth: 20 nm
Emission wavelength: 545 nm
Emission bandwidth: 20 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 73
Z-Position: Calculated from well
Z-Position well: A6
Number of reads: 50
Label: mVenus
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Part of Plate
Range: B8:B9 D1:F8 A9:A9 B2:C2 B4:C4 B6:C6 C8:C8 G2:H2 G4:H4 G6:H6 G8:H8
Fluorescence Intensity
Excitation wavelength: 475 nm
Excitation bandwidth: 20 nm
Emission wavelength: 515 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 73
Z-Position: Calculated from well
Z-Position well: A9
Number of reads: 50
Label: GFP
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 91
Z-Position: Manual
Z-Position height: 20000 μm
Number of reads: 50
Label: mScarlet_f199
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Part of Plate
Range: A1:C9 D1:H8
Absorbance
Measurement wavelength: 600 nm
Number of reads: 25
Settle time: 100 ms
Label: OD600
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 500 μm
Value of z-position calculated from well A6 (mScarlet_g7): 21296 µm
Value of z-position calculated from well A6 (mVenus): 20986 µm
Value of z-position calculated from well A9 (GFP): 19434 µm
Meas. temperature: mScarlet_g7: 25.4 °C
Meas. temperature: mVenus: 25.4 °C
Meas. temperature: GFP: 25.7 °C
Meas. temperature: mScarlet_f199: 25.8 °C
Meas. temperature: OD600: 26.0 °C
Date: 1980-01-31, Time: 12:55:37