## Magellan Sheet 3
Well positions | Strip method names | OD600 | GFP | mVenus | mScarlet_g7 | mScarlet_f199
A1 | AF_ExperimentA | 0.51953 |  | 10759 | 6484.2
B1 | AF_ExperimentA | 0.48316 |  | 8906.6 | 7048.8
C1 | AF_ExperimentA | 0.55888 |  | 9270.9 | 7028.5
D1 | AF_ExperimentA | 0.51085 | 1043.6 |  |  | 282.88
E1 | AF_ExperimentA | 0.53354 | 1165.9 |  |  | 253.5
F1 | AF_ExperimentA | 0.55319 | 1038.3 |  |  | 159.94
G1 | AF_ExperimentA | 0.44001 | 11293 | 12574 | 9985.6 | 8415.6
H1 | AF_ExperimentA | 0.41898 | 11084 | 12190 | 10689 | 8955.4
A2 | AF_ExperimentA | 0.48306 |  | 11137 | 10486
B2 | AF_ExperimentA | 0.46719 | 1631.3 |  |  | 873.31
C2 | AF_ExperimentA | 0.40379 | 1944.6 |  |  | 732.56
D2 | AF_ExperimentA | 0.40302 | 1972.9 |  |  | 482
E2 | AF_ExperimentA | 0.37893 | 396.94 | 442.44 | 10.688 | 10.188
F2 | AF_ExperimentA | 0.34187 | 387.19 | 423.69 | 11.188 | 10.625
G2 | AF_ExperimentA | 0.35099 | 375.75 | 405.5 | 12 | 11.375
H2 | AF_ExperimentA | 0.32613 | 370.88 | 396.5 | 12 | 11.125
A3 | AF_ExperimentA | 0.51901 |  | 10752 | 6466.8
B3 | AF_ExperimentA | 0.55678 |  | 8797.8 | 6898.6
C3 | AF_ExperimentA | 0.61129 |  | 9267.5 | 6982.9
D3 | AF_ExperimentA | 0.53327 | 1048.5 |  |  | 283.31
E3 | AF_ExperimentA | 0.54759 | 1179.8 |  |  | 253.94
F3 | AF_ExperimentA | 0.56764 | 1055 |  |  | 161.63
G3 | AF_ExperimentA | 0.40704 | 11760 | 13044 | 10364 | 8575.5
H3 | AF_ExperimentA | 0.41092 | 11524 | 12624 | 11108 | 9100.8
A4 | AF_ExperimentA | 0.45382 |  | 11683 | 11303
B4 | AF_ExperimentA | 0.49025 | 1650.8 |  |  | 875.69
C4 | AF_ExperimentA | 0.40255 | 2013 |  |  | 764.63
D4 | AF_ExperimentA | 0.42722 | 2034.1 |  |  | 490.25
E4 | AF_ExperimentA | 0.39913 | 403.5 | 454.69 | 10.938 | 10.438
F4 | AF_ExperimentA | 0.39342 | 396.81 | 440.69 | 11.625 | 11.313
G4 | AF_ExperimentA | 0.35231 | 380.38 | 408.44 | 11.813 | 11.438
H4 | AF_ExperimentA | 0.34544 | 378.38 | 405.38 | 12.063 | 11.313
A5 | AF_ExperimentA | 0.96279 |  | 8359.1 | 5597.8
B5 | AF_ExperimentA | 1.1016 |  | 5334 | 3633.4
C5 | AF_ExperimentA | 0.93877 |  | 5877.6 | 4935.1
D5 | AF_ExperimentA | 0.99101 | 3522.6 |  |  | 1117.6
E5 | AF_ExperimentA | 0.89864 | 4348.3 |  |  | 885.38
F5 | AF_ExperimentA | 0.81013 | 4756.6 |  |  | 1014.3
G5 | AF_ExperimentA | 0.64131 | 467.13 | 727.81 | 11.875 | 9.4375
H5 | AF_ExperimentA | 0.52851 | 565.88 | 895.88 | 14.313 | 11.063
A6 | AF_ExperimentA | 0.84408 |  | 7883.6 | 4748.8
B6 | AF_ExperimentA | 0.59005 |  | 6252.8 | 4467.6
C6 | AF_ExperimentA | 0.94412 |  | 6610.4 | 6022.2
D6 | AF_ExperimentA | 1.0805 | 4524.1 |  |  | 1742
E6 | AF_ExperimentA | 0.82247 | 6161 |  |  | 1556.4
F6 | AF_ExperimentA | 0.86882 | 2655.9 |  |  | 389.44
G6 | AF_ExperimentA | 0.65294 | 558.56 | 905.25 | 12.938 | 10.063
H6 | AF_ExperimentA | 0.39288 | 656.06 | 1033.2 | 15.625 | 11.75
A7 | AF_ExperimentA | 0.45187 |  | 4942.3 | 2676.9
B7 | AF_ExperimentA | 0.46252 |  | 4670.2 | 2765.6
C7 | AF_ExperimentA | 0.44699 |  | 4679.9 | 4143.4
D7 | AF_ExperimentA | 0.58843 | 3110.6 |  |  | 1209.7
E7 | AF_ExperimentA | 0.43951 | 2288.6 |  |  | 629.19
F7 | AF_ExperimentA | 0.57183 | 3285.4 |  |  | 952.69
G7 | AF_ExperimentA | 0.32423 | 431.56 | 498.06 | 24.75 | 22.125
H7 | AF_ExperimentA | 0.26264 | 452.19 | 531 | 20.25 | 17.75
A8 | AF_ExperimentA | 0.56791 |  | 8654.9 | 5936.1
B8 | AF_ExperimentA | 0.49463 |  | 5564.9 | 3714.1
C8 | AF_ExperimentA | 0.46353 |  | 4675.9 | 4444.9
D8 | AF_ExperimentA | 0.58588 | 2849.4 |  |  | 1230.1
E8 | AF_ExperimentA | 0.48718 | 2690.3 |  |  | 744.31
F8 | AF_ExperimentA | 0.55581 | 3042.1 |  |  | 866.88
G8 | AF_ExperimentA | 0.35234 | 440.19 | 506.88 | 25.438 | 22.625
H8 | AF_ExperimentA | 0.27133 | 489 | 588.13 | 20.75 | 18.313
A9 | AF_ExperimentA | 0.91719 |  | 27573 | 9980.6
B9 | AF_ExperimentA | 0.91905 | 24870 |  |  | 718.75
C9 | AF_ExperimentA | 0.414 | 367.19 | 393.06 | 11.25 | 11.25
D9 | AF_ExperimentA | 0.35309 | 372.63 | 400.13 | 11.5 | 10.75
E9 | AF_ExperimentA | 0.3958 | 378.94 | 412.94 | 11.563 | 11.125
F9 | AF_ExperimentA | 0.35218 | 377.94 | 407.75 | 11.625 | 11.125
A10 | AF_ExperimentA | 0.40084 |  | 7034.6 | 4316.1
B10 | AF_ExperimentA | 0.4255 |  | 5247.4 | 4192.8
C10 | AF_ExperimentA | 0.39512 |  | 5769.6 | 4338.2
D10 | AF_ExperimentA | 0.34961 | 784.69 |  |  | 170.5
E10 | AF_ExperimentA | 0.50562 | 952.94 |  |  | 168.5
F10 | AF_ExperimentA | 0.52874 | 910.81 |  |  | 120.63
G10 | AF_ExperimentA | 0.42943 | 10739 | 11921 | 9361.6 | 7881.6
H10 | AF_ExperimentA | 0.40102 | 8499.6 | 9328.9 | 8432.8 | 7135
A11 | AF_ExperimentA | 0.44699 |  | 9834 | 9380.1
B11 | AF_ExperimentA | 0.51269 | 1583.6 |  |  | 803.38
C11 | AF_ExperimentA | 0.47166 | 1898.3 |  |  | 690.25
D11 | AF_ExperimentA | 0.45309 | 1936.6 |  |  | 447.06
E11 | AF_ExperimentA | 0.34268 | 385.38 | 423.25 | 11.938 | 11.125
F11 | AF_ExperimentA | 0.37508 | 394.25 | 430.94 | 12.25 | 11.875
G11 | AF_ExperimentA | 0.38038 | 368.31 | 394.63 | 12.625 | 12.125
H11 | AF_ExperimentA | 0.34909 | 361.06 | 385.31 | 11.813 | 11.125
Date of measurement: 1980-02-07/Time of measurement: 12:59:29
569nm - 593nm
infinite M1000 PRO
Instrument serial number: 1408007771
Plate
Plate Description: [COR96fb clear bottom] - Corning 96 Flat black, clear bottom
Plate with Cover: No
Barcode: No
Part of Plate
Range: A1:A11 B5:C8 C9:C10 B10:B10 B1:C1 B3:C3 E2:F2 E4:F4 D9:F9 E11:F11 G1:H8 G10:H11
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 91
Z-Position: Calculated from well
Z-Position well: A1
Number of reads: 50
Label: mScarlet_g7
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 500 nm
Excitation bandwidth: 20 nm
Emission wavelength: 545 nm
Emission bandwidth: 20 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 73
Z-Position: Calculated from well
Z-Position well: A1
Number of reads: 50
Label: mVenus
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Part of Plate
Range: D1:F11 B2:C2 B4:C4 B9:C9 B11:C11 G1:H8 G10:H11
Fluorescence Intensity
Excitation wavelength: 475 nm
Excitation bandwidth: 20 nm
Emission wavelength: 515 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 73
Z-Position: Calculated from well
Z-Position well: B2
Number of reads: 50
Label: GFP
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 91
Z-Position: Manual
Z-Position height: 20000 μm
Number of reads: 50
Label: mScarlet_f199
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Part of Plate
Range: A1:F11 G1:H8 G10:H11
Absorbance
Measurement wavelength: 600 nm
Number of reads: 25
Settle time: 100 ms
Label: OD600
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 500 μm
Value of z-position calculated from well A1 (mScarlet_g7): 20986 µm
Value of z-position calculated from well A1 (mVenus): 20986 µm
Value of z-position calculated from well B2 (GFP): 20986 µm
Meas. temperature: mScarlet_g7: 23.0 °C
Meas. temperature: mVenus: 23.2 °C
Meas. temperature: GFP: 23.7 °C
Meas. temperature: mScarlet_f199: 24.1 °C
Meas. temperature: OD600: 24.3 °C
Date: 1980-02-07, Time: 12:59:29