## Magellan Sheet 3
Well positions | Strip method names | OD600 | mVenus | mScarlet_g7
A1 | AF_ExperimentB_super | 0.19691 | 1382.4 | 983.88
B1 | AF_ExperimentB_super | 0.24481 | 1192.9 | 926.06
C1 | AF_ExperimentB_super | 0.2439 | 1926.3 | 1830.9
D1 | AF_ExperimentB_super | 0.23443 | 1369.1 | 1003.3
E1 | AF_ExperimentB_super | 0.22136 | 1641.2 | 1199.3
F1 | AF_ExperimentB_super | 0.26636 | 1970.6 | 1202.9
G1 | AF_ExperimentB_super | 0.29374 | 7286 | 6934.8
H1 | AF_ExperimentB_super | 0.32646 | 7357.1 | 7840.3
A2 | AF_ExperimentB_super | 0.35058 | 7135.4 | 7710.1
B2 | AF_ExperimentB_super | 0.2489 | 425.06 | 9.6875
C2 | AF_ExperimentB_super | 0.25048 | 431.81 | 9.5625
D2 | AF_ExperimentB_super | 0.25567 | 436.81 | 9.5
E2 | AF_ExperimentB_super | 0.26984 | 495.88 | 24.75
A3 | AF_ExperimentB_super | 0.22334 | 1398.3 | 988.31
B3 | AF_ExperimentB_super | 0.25359 | 1204 | 973.75
C3 | AF_ExperimentB_super | 0.25533 | 1958.5 | 1777.9
D3 | AF_ExperimentB_super | 0.25934 | 1357.6 | 971.63
E3 | AF_ExperimentB_super | 0.26456 | 1688.1 | 1233.3
F3 | AF_ExperimentB_super | 0.35801 | 2260.1 | 1598.5
G3 | AF_ExperimentB_super | 0.41467 | 7787.9 | 7544.1
H3 | AF_ExperimentB_super | 0.35269 | 7192.6 | 7670.1
A4 | AF_ExperimentB_super | 0.35699 | 7191.4 | 7706.8
B4 | AF_ExperimentB_super | 0.27393 | 436.13 | 9.9375
C4 | AF_ExperimentB_super | 0.20919 | 441.25 | 9.375
D4 | AF_ExperimentB_super | 0.24785 | 440.06 | 9.6875
E4 | AF_ExperimentB_super | 0.24904 | 435.63 | 9.6875
F4 | AF_ExperimentB_super | 0.048431 | 322.13 | 9.4375
G4 | AF_ExperimentB_super | 0.048431 | 323.19 | 9.8125
H4 | AF_ExperimentB_super | 0.048325 | 325.88 | 10
A5 | AF_ExperimentB_super | 0.4362 | 7237.4 | 5000
B5 | AF_ExperimentB_super | 0.41876 | 4620.9 | 3494.4
C5 | AF_ExperimentB_super | 0.4132 | 4967.8 | 4284.3
D5 | AF_ExperimentB_super | 0.31216 | 2927.4 | 1809.5
E5 | AF_ExperimentB_super | 0.44306 | 6632.3 | 3331.4
F5 | AF_ExperimentB_super | 0.56293 | 10606 | 5160.7
G5 | AF_ExperimentB_super | 0.47579 | 10568 | 10019
H5 | AF_ExperimentB_super | 0.4032 | 10589 | 11116
A6 | AF_ExperimentB_super | 0.4636 | 8864.2 | 9441.2
B6 | AF_ExperimentB_super | 0.27339 | 422.19 | 9.625
C6 | AF_ExperimentB_super | 0.24476 | 418.19 | 9.4375
D6 | AF_ExperimentB_super | 0.26409 | 419.31 | 9.4375
E6 | AF_ExperimentB_super | 0.29555 | 416.75 | 9.125
A7 | AF_ExperimentB_super | 0.42188 | 6984.2 | 4774.2
B7 | AF_ExperimentB_super | 0.45533 | 5118.3 | 3790.8
C7 | AF_ExperimentB_super | 0.40772 | 4938.4 | 4197.9
D7 | AF_ExperimentB_super | 0.38971 | 2634.4 | 1613
E7 | AF_ExperimentB_super | 0.40686 | 6419.6 | 3214.3
F7 | AF_ExperimentB_super | 0.59158 | 13889 | 6672.8
G7 | AF_ExperimentB_super | 0.40298 | 10753 | 10175
H7 | AF_ExperimentB_super | 0.42368 | 10723 | 11145
A8 | AF_ExperimentB_super | 0.51558 | 8847.8 | 9362.6
B8 | AF_ExperimentB_super | 0.25033 | 435.44 | 10.125
C8 | AF_ExperimentB_super | 0.20924 | 422.44 | 9.625
D8 | AF_ExperimentB_super | 0.27713 | 428.88 | 9.0625
E8 | AF_ExperimentB_super | 0.28486 | 418.69 | 9.0625
A9 | AF_ExperimentB_super | 0.25256 | 407.13 | 9.625
B9 | AF_ExperimentB_super | 0.29656 | 421.63 | 9.75
Date of measurement: 1980-01-19/Time of measurement: 12:36:51
569nm - 593nm
infinite M1000 PRO
Instrument serial number: 1408007771
Plate
Plate Description: [COR96fb clear bottom] - Corning 96 Flat black, clear bottom
Plate with Cover: No
Barcode: No
Part of Plate
Range: A1:B9 C1:E8 F1:H1 F3:H5 F7:H7
Fluorescence Intensity
Excitation wavelength: 569 nm
Excitation bandwidth: 5 nm
Emission wavelength: 593 nm
Emission bandwidth: 10 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 91
Z-Position: Calculated from well
Z-Position well: A1
Number of reads: 50
Label: mScarlet_g7
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Fluorescence Intensity
Excitation wavelength: 500 nm
Excitation bandwidth: 20 nm
Emission wavelength: 545 nm
Emission bandwidth: 20 nm
Reading mode: Top
Lag time: 0 μs
Integration time: 20 μs
Flash Frequency: Mode 1 [400Hz]
Settle time: 100 ms
Gain: Manual
Gain value: 73
Z-Position: Calculated from well
Z-Position well: A1
Number of reads: 50
Label: mVenus
Beam diameter: 2500 μm
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 750 μm
Absorbance
Measurement wavelength: 600 nm
Number of reads: 25
Settle time: 100 ms
Label: OD600
Multiple reads per well type: FilledSquare
Multiple reads per well size: 4 x 4
Well border: 500 μm
Value of z-position calculated from well A1 (mScarlet_g7): 20676 µm
Value of z-position calculated from well A1 (mVenus): 20675 µm
Meas. temperature: mScarlet_g7: 24.5 °C
Meas. temperature: mVenus: 24.6 °C
Meas. temperature: OD600: 24.9 °C
Date: 1980-01-19, Time: 12:36:51